## Slide 1: TMEDS Discovery Meeting: Basics of flow data analysis John Quinn Ph.D. Director of Science and Product Development BDB Informatics (FlowJo) john.flowjo@bd.com

## Slide 2: Outline
Details of an FCS file
Controls
Compensation Options
Transforms
Population Identification
Reporting
High-dimensional analysis

## Slide 3: Cytometers

## Slide 4: Details of an FCS File
FCS = Flow Cytometry Standard
Keywords
List Mode Data
Features
Cells

## Slide 5: Controls
Start with a biological question
  Phrase it as a null hypothesis
  This will determine what controls are needed

## Slide 6: Types of Controls
Instrument set up
Compensation
Gating
  Unstained cells
  Florescence Minus One (FMO)
Experimental
Isotype (optional)

## Slide 7: Compensation Options
Acquisition vs. Post-acquisition
Traditional vs. Spectral
Gate-based vs. AutoSpill
Beads vs. Cells
SSM vs. TSM
Calculate SSM/ TSM

## Slide 8: AutoSpill
Gate-based
AutoSpill
Robust linear regression-based approach
No positive or negative populations needed
Overcomes some weak positive control samples
Iterative
Auto-fluorescence subtraction possible

## Slide 9: Transforms
Linear
Logarithmic
Logical

## Slide 10: Transforms
Linear
Logarithmic
Logical

## Slide 11: Transforms
Linear
Log
Logical

## Slide 12: Transforms
Linear
Log
Logical
  Bi-exponential
  Hyperlog
  Arcsin
  Arcsinh

## Slide 13: Population Identification
Preprocessing
Time
Doublets & Debris
Dead cells
Normalization (if necessary)
Identification

## Slide 14: Clean up vs. time

## Slide 15: Time gating
Manual vs. Algorithms

## Slide 16: Time gating
Manual vs. Algorithms
Save time, do a better job

## Slide 17: Doublet Discrimination

## Slide 18: Live/Dead Discrimination
Backgating

## Slide 19: Normalization
Consideration for comparing data across acquisition runs
Via instrumentation
Possible post-acquisition

## Slide 20: Manual gating
Best done in reference to unstained, FMO, or biological controls
Option include:
  Threshold
  Density based
  Quads
    Traditional
    Curly

## Slide 21: Spreading error
Photon counting statistics
  More ‘positive’ data will have increased spread

## Slide 22: Automated Workflow
BD and FlowJo are one! Supporting you and your research from design to discovery.
FlowAI
FlowClean
CytoNorm
MNN norm
Data Clean up
Dimension Reduction
Auto-gating
Population identification
tSNE
UMAP
PacMap
EmbedSOM
FlowSOM
PhenoGraph
XShift
DaFi
Cluster Explorer
Euclid
Violin & Box
TREX
Notes: Highlighted: an exemplar of the major classes

## Slide 23: Dimensionality Reduction Comparison
Notes: tSNE, perhaps the most famous DR technique among cool people / cytometrists, is a probability-based approach. Using the multi-parametric distance between each pair of data points, it constructs probability distributions of which cell would be considered the nearest neighbor of the currently considered cell. It then does the same thing on a low dimensional version of the data, and keeps iterating until those probabilities match, i.e. it has placed each cell with its neighbors.
UMAP is an example of a manifold approach. UMAP attempts to represent the data as a whole, as a structure or composite of simpler structures. It then tries to make a low dimensional representation of these structures that fit the data in 2D space and keeps iterating until the two representations align.

## Slide 24: Clustering Options
Phenograph – Nearest Neighbors Graph
FlowSOM – Self Organizing Map
X-Shift – Fast KNN Density Estimation
Phenograph
X-Shift
FlowSOM
For Research Use Only. Not for use in therapeutic or diagnostic procedures.

## Slide 25: Reporting
When you say “MFI”…
Central tendency vs. increase in relative number of events

## Slide 26: Questions?